Smart Water Purification & Quality Monitoring System

SIH 2026 — Problem Statement 26040 | Clean & Green Technology | Hardware | Team BigMouse

Overview

A modular IoT-based water purification and quality monitoring system designed for rural and mining-affected areas, where water quality can vary significantly from one source to another.

The system combines:

• Continuous basic water-quality monitoring

• Site-specific contaminant detection

• Multi-stage filtration and disinfection

• Automated safety control

• Local + remote alerts

• A universal optical reader with swappable colorimetric cartridges

Core Idea: One Reader. Swappable Cartridges. Site-Specific Monitoring.

Problem

Mining-affected water sources can contain contaminants such as iron (Fe), manganese (Mn), aluminium (Al) and other site-specific pollutants.

Conventional water testing often depends on periodic laboratory testing, which can create a gap between two testing cycles.

Our proposed system adds a continuous monitoring and treatment-control layer between laboratory assessments.

Proposed Solution

Baseline Lab Assessment

↓

Site-Specific Treatment & Cartridge Configuration

↓

Continuous Water Quality Monitoring

↓

Targeted Contaminant Detection

↓

Multi-Stage Treatment + Disinfection

↓

Final Quality Verification

↓

Safe → Storage / Unsafe → Automatic Hold

↓

Operator Alert → Retest → Resume

System Architecture

1. Sensor Layer

• pH

• TDS / EC

• Turbidity

• Temperature

• Flow

2. Universal Cartridge System

A common optical reader is designed to work with swappable contaminant-specific cartridges.

Water Sample → Sample / Reagent Chamber → Controlled Reaction → Dark Optical Chamber → LED + Optical Filter → Photodetector → Signal Processing → Calibration Curve → Contaminant Concentration

Initial target cartridges: Fe, Mn, Al and future site-specific contaminants.

3. Edge Processing

ESP32 handles sensor acquisition, calibration, threshold checking, decision logic, local alerts, valve/control actions and offline data logging.

4. Connectivity

Wi-Fi, 4G LTE / SIM7600, MQTT / HTTPS, offline data buffering and automatic synchronization.

5. Treatment & Safety Control

Multi-stage filtration, chlorine dosing, mixing/contact stage, final quality verification and automatic supply hold when configured safety conditions are violated.

Safety & Feedback Loop

Unsafe Reading

↓

Automatic Valve Hold

↓

Operator Alert

↓

Inspection / Correction

↓

Retest

↓

Safe → Resume

Unsafe → Remain on Hold

Key Innovation

Universal Reader + Swappable Cartridges

The core innovation is a modular optical detection approach where the reader remains common while the contaminant-specific cartridge can be changed according to the site's water-quality profile.

This allows the same monitoring platform to be adapted for different contamination scenarios without redesigning the complete system.

Future Development

• Universal Cartridge Expansion — Fe → Mn → Al → site-specific contaminants

• Self-Learning Monitoring — anomaly detection and contamination trend prediction

• Adaptive Treatment Control — optimize dosing and treatment response

• Self-Diagnostic System — detect sensor drift, cartridge degradation and maintenance needs

Technology Stack

Hardware: ESP32, pH sensor, TDS / EC sensor, turbidity sensor, temperature sensor, flow sensor, optical LED + photodetector, solar power + battery, valves / pump, filtration system.

Communication: Wi-Fi, 4G LTE / SIM7600, MQTT / HTTPS.

Software: ESP-IDF / Embedded C/C++, Web Dashboard, Cloud data storage, PostgreSQL / InfluxDB.

Project Status

ESP32 control system — Prototype

Basic sensor monitoring — Prototype

Local alerts — Prototype

Data logging — Prototype

Dashboard — Prototype / Development

Automated valve control — Development

Universal optical reader — Development

Fe cartridge — Under validation

Mn cartridge — Future validation

Al cartridge — Future validation

ML-based monitoring — Future

Note: Cartridge-based contaminant quantification and field performance require laboratory and field validation before being considered fully validated.

Repository Structure

hardware/

circuit/

schematics/

components/

firmware/

esp32/

dashboard/

cartridge/

design/

documentation/

docs/

architecture/

process-flow/

references/

media/

images/

videos/

README.md

Team

Team BigMouse

Smart India Hackathon 2026

Problem Statement: 26040

Disclaimer

This repository documents the proposed system architecture and prototype development of the project.

Laboratory validation, cartridge calibration, long-term stability, field performance and final water-quality verification are part of the project's validation roadmap.